40MSPS 4通道网络实时采集卡

FPGA+ARM架构4路同步40MSPS AD采集系统，arm为双核1G主频，fpga为Xilinx xc7z020，ddr3内存1g。
单通道A/D采集要求：通道AD为14位，输入耦合dc，采样速率最高40MSPS，信号输入范围正负5V。4通道同步采样。模拟量输入接口：参考甲方样品，弯脚绿端子（间距5.08mm带固定点），为单端采集。
可进行连续采集、门限触发采集（正负门限）、延时触发采集（延时范围0us-1s），其中门限触发采集的触发条件和触发点前后的采集点数可设置。无论何种采集方式，每次读取一定长度的A/D数据，必须给出第一个采样点的GPS时间（年、月、日、时、分、秒、毫秒、微秒、纳秒）。GPS接口：参考甲方样品，弯脚绿端子（间距3.81mm带固定点）。
板卡带同步时钟接口，可多块板卡同步采集，支持GPS秒脉冲同步
以太网口：千兆以太网口。
USB接口：1个，支持鼠标及U盘。
位机c++测试程序，测试板卡上述功能，并提供源码。
外形尺寸为：160mmx110mmx40mm。
[image: image1.png](0xitif0000

ox1234

EEFE
EEEE

(KVolt) wa ™

+32.758 EFIF0
|

#AFo

B8 )





[image: image2.png]



网络测速工具使用效果

[image: image3.png]zyng> iperf3 -c 192.168.1.3 -i 1 -w 8192k -t 100
Connecting to host 192.168.1.3, port 5201

4] Tocal 192.168.1.222 port 34030 connected to 192.168.1.3 port 5201
1] Interval

[

ro

CmuanR Wy

00-11

01-12.

00-13]
01-14)

01-15.

00-16.

01-17.

00-18.
01-19.
01-20.
01-21

01-22.

00-23]
01-24

01-25.

00-26.
01-27.

01-28.

00-29.

01-30.

00-31
01-32.

01-33

00-34
01-35,

01-36.

00-37.
01-38.

01-39.

00-20.
01-41

01-42.

00-43]
01-44]

01-45.

00-46.
01-47.
01-48.

01-49.

00-50.
01-51

01-52.
00-53.

00-54

.001. 01
101-2.00
100-3.01
101-2.00
100-5.01
101-6.01
101-7.00
100-8.01
101-9. 01
101-10.
100
11l
12.
130
1a]
15!
16.
17.
18]
19.
20.
21
22!
FEN
2.
25!
26.
27.
28!
20!
30
31
EPN
EEN
EN
3s.
36.
37.
38!
39!
40,
41.
42.
431
pry
45.
46.
47.
48,
49.
50.
51
52.
53,

00
o1
00
o1
o1
00
Lo1
00
Jo1
Jo1
-o1
o1
00
o1
o1
00
Lo1
o1
00
Jo1
00
o1
o1
00
o1
o1
00
o1
Jo1
00
Jo1
o1
00
o1
o1
00
Lo1
o1
Jo1
00
Jo1
o1
00
00
L1

sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec
sec

54.01-54.20 sec

nterval

0.00°54.20 sec
0.00-54.20 sec

Transfer  Bandwidth Retr cwnd
79.6 MBytes 664 Mbits/sec O 82.0 KBytes
78.8 MBytes 664 Mbits/sec 0 83.4 KBytes
80.0 MBytes 666 Mbits/sec 0 83.4 KBytes
78.8 MBytes 666 Mbits/sec 0 83.4 KBytes
80.0 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 666 Mbits/sec 0 84.8 KBytes
78.8 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 668 Mbits/sec 0 84.8 KBytes
80.0 MBytes 667 Mbits/sec 0 84.8 KBytes
78.8 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 668 Mbits/sec 0 84.8 KBytes
78.8 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 666 Mbits/sec 0 84.8 KBytes
80.0 MBytes 667 Mbits/sec 0 84.8 KBytes
78.8 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 667 Mbits/sec 0 84.8 KBytes
78.8 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 667 Mbits/sec 0 84.8 KBytes
78.8 MBytes 666 Mbits/sec 0  84.8 KBytes
80.0 MBytes 668 Mbits/sec 0 84.8 KBytes
78.8 MBytes 668 Mbits/sec 0 84.8 KBytes
80.0 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 667 Mbits/sec 0 84.8 KBytes
78.8 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 667 Mbits/sec 0 84.8 KBytes
80.0 MBytes 668 Mbits/sec 0 84.8 KBytes
78.8 MBytes 667 Mbits/sec 0  86.3 KBytes
80.0 MBytes 667 Mbits/sec 0  86.3 KBytes
78.8 MBytes 667 Mbits/sec 0  86.3 KBytes
80.0 MBytes 668 Mbits/sec 0  86.3 KBytes
80.0 MBytes 667 Mbits/sec 0  86.3 KBytes
78.8 MBytes 667 Mbits/sec 0  86.3 KBytes
80.0 MBytes 667 Mbits/sec 0  86.3 KBytes
80.0 MBytes 667 Mbits/sec 0  86.3 KBytes
78.8 MBytes 667 Mbits/sec 0  86.3 KBytes
80.0 MBytes 66 Mbits/sec 0  86.3 KBytes
80.0 MBytes 667 Mbits/sec 0  86.3 KBytes
78.8 MBytes 668 Mbits/sec 0  86.3 KBytes
80.0 MBytes 667 Mbits/sec 0  86.3 KBytes
80.0 MBytes 668 Mbits/sec 0  86.3 KBytes
78.8 MBytes 669 Mbits/sec 0  86.3 KBytes
80.0 MBytes 668 Mbits/sec 0  86.3 KBytes
80.0 MBytes 667 Mbits/sec 0  86.3 KBytes
78.8 MBytes 668 Mbits/sec 0  86.3 KBytes
80.0 MBytes 669 Mbits/sec 0  86.3 KBytes
80.0 MBytes 66 Mbits/sec 0  86.3 KBytes
80.0 MBytes 668 Mbits/sec 0  86.3 KBytes
78.8 MBytes 668 Mbits/sec 0  86.3 KBytes
80.0 MBytes 668 Mbits/sec 0  86.3 KBytes
80.0 MBytes 668 Mbits/sec 0  86.3 KBytes
78.8 MBytes 668 Mbits/sec 0  86.3 KBytes
80.0 MBytes 668 Mbits/sec 0  86.3 KBytes
80.0 MBytes 667 Mbits/sec 0  86.3 KBytes
9 MEytes 663 Mbits/sec 0  86.3 KBytes

Transfer  sandwidth Retr

4.21 GBytes 667 mbits/sec 0 sender
0.00 Bytes 0.00 bits/sec receiver

interrupt - the client

as terminated




运行命令红色框图中，或者见Readme.txt文件中如何操作












